## Device to PHI - SMBP
Description Sender: device/device gateway Receiver: Personal Health Indermediary platform Testable Profiles: Self-measured Blood Pressure, SMBP Associated Heart Rate
Step # | Step type | Action | Expected Output | Step Completed (Yes/No) | Result (Pass/Fail/NA) | Comments | Reason(s) Test Marked as Fail
1 | Pre-condition | Receiver grants necessary permissions to sender | Sender is able to send messages to receiver |  | Not applicable
2 | Pre-condition | Receiver creates patient resource | Sender has means to identify this patient resource |  | Not applicable
3 | Pre-condition | Receiver creates device resource | Sender has means to identify this device resource |  | Not applicable
4 | Test | Sender sends SMBP data | Receiver is able to query for SMBP Blood Pressure data |  |  | 1. Ideally, at least 3 days of readings should be sent with 2 morning readings and 2 evening readings for each day. 2. SMBP data can be sent as one observation at a time or as a batch of multiple observations
4.1 | Test |  | If receiver also hosts non-SMBP blood pressures, receiver is able to distinguish SMBP data from non-SMBP data
4.2 | Test |  | If sender is also sending SMBP Associated Heart Rate, receiver is able to query SMBP Associated Heart Rate data |  |  | Reminder: SMBP Associated Heart Rate's effective[x] value needs to match effective[x] of associated SMBP observation

## PHI to EHR - SMBP
Description Sender: Personal Health Intermediary platform Receiver: EHR or Patient Portal Testable Profiles: Self-measured Blood Pressure, SMBP Associated Heart Rate
Step # | Step type | Action | Expected Output | Step Completed (Yes/No) | Result (Pass/Fail/NA) | Comments | Reason(s) Test Marked as Fail
1 | Pre-condition | Receiver grants necessary permissions to sender | Sender is able to send messages to receiver |  | Not applicable
2 | Pre-condition | Receiver creates patient resource | Sender has means to identify this patient resource |  | Not applicable
3 | Pre-condition | Receiver creates device resource | Sender has means to identify this device resource |  | Not applicable
4 | Test | Sender sends SMBP data | Receiver is able to query for SMBP Blood Pressure data |  |  | 1. Ideally, at least 3 days of readings should be sent with 2 morning readings and 2 evening readings for each day. 2. SMBP data can be sent as one observation at a time or as a batch of multiple observations
4.1 | Test |  | If receiver also hosts non-SMBP blood pressures, receiver is able to distinguish SMBP data from non-SMBP data
4.2 | Test |  | If sender is also sending SMBP Associated Heart Rate, receiver is able to query SMBP Associated Heart Rate data |  |  | Reminder: SMBP Associated Heart Rate's effective[x] value needs to match effective[x] of associated SMBP observation

## PHI to EHR - AVG SMBP
Description Sender: Personal Health Intermediary platform Receiver: EHR or Patient Portal Testable Profiles: Average Self-measured Blood Pressure
Step # | Step type | Action | Expected Output | Step Completed (Yes/No) | Result (Pass/Fail/NA) | Comments | Reason(s) Test Marked as Fail
1 | Pre-condition | Receiver grants necessary permissions to sender | Sender is able to send messages to receiver |  | Not applicable
2 | Pre-condition | Receiver creates patient resource | Sender has means to identify this patient resource |  | Not applicable
3 | Pre-condition | Receiver creates device resource | Sender has means to identify this device resource |  | Not applicable
4 | Pre-condition | Sender has access to SMBP data | Sender is able to query SMBP data |  | Not applicable
5 | Pre-condition | Sender queries SMBP data in order to calculate Average SMBP values | Sender calculates Average SMBP values based on SMBP data |  | Not applicable
6 | Test | Sender sends Average SMBP data | Receiver is able to query for Average SMBP data
6.1 | Test |  | If sender referenced individual SMBP readings in derivedFrom, receiver is able to query this data

## Info
Type | Step | Universal | US CDI | Other
Pre-condition | Create patient record | Patient Resource | US Core Patient Profile
Pre-condition | Create device record (device) | Device Resource |  | PhdDevice Profile
Pre-condition | Create device record (gateway) | Device Resource |  | PhgDevice Profile
Test | Send SMBP |  |  | Self-measured Blood Pressure Profile
Test | Send SMBP Associated Heart Rate |  |  | SMBP Associated Heart Rate Profile
Test | Send Average SMBP data |  |  | Average Self-measured Blood Pressure
Optional data | Non-SMBP Blood Pressure | Observation Resource | US Core Blood Pressure Profile
Optional data | Non-SMBP Associated Heart Rate | Observation Resource | US Core Heart Rate Profile